## Sheet1
Parameter | Default | Update | Description
NoiseFilter | 2.5 | Everytime | An abundance (every peak is scaled to the largest peak) cutoff for peaks. A reasonable value should be in the 2.5 - 5.0% range. Default is 5%.
Charges | 1,2 | Everytime | The range of charges to test. List charges separated by a comma
MatchingAlgorithm | highest abundance | Everytime | 'closest peak' selects the closest peak in the m/z window (recommended for peptides/digested experiments/bottom-up/middle-down) and 'highest abundance' selects the highest abundance peak in the m/z window (recommended for intact protein/top-down)
MinimumAbundance | 1 | Occasionally | The minimum abundance permitted to be matched. Default is 0.1 which is 0.1%. This is also the minimum change between peaks required for matching.
CorrelationMinimum | 0.5 | Occasionally | The minimum correlation value to consider when generating the trelliscope display
PPMThreshold | 10 | Occasionally | The maximum m/z error permitted.
AddMAI | FALSE | Rarely | Add most abundant isotope to the molecular formula calculation step. Warning: This will slow down the tool.
IsotopeRange | 5,20 | Rarely | The minimum and maximum number of isotopes to consider
PlottingWindow | 5 | Rarely | The -/+ m/z value on either side of the matched spectra plot. Default is 2 m/z.
ProtonMass | 1.0073 | Rarely | The AMU mass of a proton. Shouldn't need to change.